## Slide 1: Ethernet-driven control and data acquisition scheme for the Timepix-based TPC readout
C. Kahra, U. Schäfer, M.Zamrowski
Uni Mainz

## Slide 2: TPC readout chain
TPC to be read out by one or several pixel sensors (256*256 pixels)
Timepix chip bonded on a FR4 carrier
  Amplifier
  Discriminator
  TDC
    TOT
    Common stop
  Serialiser (LVDS link)
Flat cable connection (ZIF) to adapter board
  Trigger, test pulse, voltage monitor
Flat cable connection to Xilinx ML506 evaluation board
  FPGA Virtex-5 (XC5VSX50-TFFG1136)
    Deserialiser
    Buffer
    Ethernet / IP packet engine (UDP)

## Slide 3: Detector and readout chain
TPC
cathode
GEM
Timepix chip
ML506
Xilinx
Adapter
Ethernet
Flat cable
Flat cable